## CID codes
TEKO event | CID code | Partition No. | Zone/User No.
Arming/Disarming + Entry/Exit delay
Arming partition by iButton or key fob | R 400 | Partition number | 0 to 999 – local user
Disarming partition by iButton or key fob | E 400 | Partition number | 0 to 999 – local user
Arming several partitions by iButton or key fob | R 400 | Several partition numbers | 0 to 999 – local user
Disarming several partitions by iButton or key fob | E 400 | Several partition numbers | 0 to 999 – local user
Arming partition(by user ID) | R 401 | Partition number | 255 – user operator
Disarming partition(by user ID) | E 401 | Partition number | 255 – user operator
Arming several partitions(by user ID) | R 401 | Several partition numbers | 255 – user operator
Disarming several partitions(by user ID) | E 401 | Several partition numbers | 255 – user operator
Entry delay | E 451 | Partition number | Zone number
Entry delay completed | R 451 | Partition number | Zone number
Exit delay | E 452 | Partition number | Zone number
Exit delay completed | R 452 | Partition number | Zone number
Not ready for arming | E 454 | Partition number | Zone number
Tampering
Comtroller tampering | E 137 | no partition number | Zone number
Controller tampering recovered | R 137 | no partition number | Zone number
Tampering | E 144 | Partition number | Zone number
Tampering recovered | R 144 | Partition number | Zone number
Interference | E 344 | Partition number | Zone number
Recovery | R 344 | Partition number | Zone number
Alarm
Detector alarm (general type) | E 130 | Partition number | Zone number
Detector recovery | R 130 | Partition number | Zone number
Perimeter alarm | E 131 | Partition number | Zone number
Perimeter alarm recovery | R 131 | Partition number | Zone number
Room alarm | E 132 | Partition number | Zone number
Room alarm recovery | R 132 | Partition number | Zone number
Entry alarm | E 134 | Partition number | Zone number
Entry alarm recovery | R 134 | Partition number | Zone number
Breaking | E 130 | Partition number | Zone number
Breaking recovery | R 130 | Partition number | Zone number
Panic by local user | E 120 | Partition number | Zone/user number
Panic | E 120 | Partition number | Zone number
Panic recovery | R 120 | Partition number | Zone number
Panic | E 120 | Partition number | Zone number
Manual recovery | R 120 | Partition number | Zone number
Silent alarm | E122 | Partition number | Zone number
Cancel silent alarm | R122 | Partition number | Zone number
Fire
Fire alarm | E 110 | Partition number | Zone number
Fire alarm recovery | R 110 | Partition number | Zone number
Smoke | E 111 | Partition number | Zone number
Fire alarm recovery | R 111 | Partition number | Zone number
Fire - Flame | E 112 | Partition number | Zone number
Fire alarm recovery | R 112 | Partition number | Zone number
Alarm recovery | E 406 | Partition number | Zone number
Failure
Failure | E 300 | Partition number | Zone number
Failure recovery | R 300 | Partition number | Zone number
Controller disconnection | E 350 | Partition number | Zone number
Controller connection recovery | R 350 | Partition number | Zone number
Detector disconnection | E 350 | Partition number | Zone number
Connection recovery | R 350 | Partition number | Zone number
Battery failure | E 311 | Partition number | Zone number
Battery failure recovery | R 311 | Partition number | Zone number
Battery critical charge | E 384 | Partition number | Zone number
Battery normal | R 384 | Partition number | Zone number
GSM SIM 2 connection failure | E 353 | Partition number | Zone number
GSM SIM2 connection recovery | R 353 | Partition number | Zone number
Ethernet connection failure | E 355 | Partition number | Zone number
Ethernet connection recovery | R 355 | Partition number | Zone number
SH battery failure | E 311 | Partition number | Zone number
SH battery failure recovery | R 311 | Partition number | Zone number
Commands
Manual test | E 601 | Partition number | Zone number
Test signal | E 602 | Partition number | Zone number
Reboot | E 305 | Partition number | Zone number
Power
Power off | E 301 | Partition number | Zone number
Power normal | R 301 | Partition number | Zone number